{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":1,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":34,"n_cols":21,"rows_kept":34,"cut":false,"hidden":false,"merged":[[3,0,3,20],[9,0,10,0],[9,1,10,1],[9,2,9,20],[1,0,1,4]]}
[]
["www.temperaturemonitoringuae.com"]
[]
["CALCULATION OF MEAN KINETIC TEMPERATURE (MKT)"]
["Developed by Vacker LLC"]
[]
["Please enable Macro while opening this Excel sheet"]
[]
["You may change any data in the following table"]
["Date","Time","Readings of Data Loggers"]
[null,null,"DL 1","DL 2","DL 3","DL 4","DL 5","DL 6","DL 7","DL 8","DL 9","DL 10","DL 11","DL 12","DL 13","DL 14","DL 15","DL 16","DL 17","DL 18","DL 19"]
["21/05/2014","12:37:06",19.8,19.3,19.5,19.5,19.100000000000001,18.8,20.2,19.8,19.8,20.5,19.600000000000001,20,20.2,19.2,18.7,20.7,20.3,19.5,20.100000000000001]
["21/05/2014","12:40:06",20.2,19.8,19.8,20.2,null,19.3,20.7,20.100000000000001,20,20.8,19.7,19.8,20.6,19.3,19,20.7,20.3,19.600000000000001,20.3]
["21/05/2014","12:43:06",20.6,20.2,20,20.8,20,19.600000000000001,21.2,20.2,20.100000000000001,21.2,19.8,20,21.1,19.7,19.3,21,20.3,19.7,20.6]
["21/05/2014","12:46:06",21,20.5,20,21.5,20.3,20,21.6,20.5,20.2,21.6,20,20.100000000000001,21.6,20,19.7,21.2,20.6,20,21]
["21/05/2014","12:49:06",21.3,20.7,20.100000000000001,21.7,20.5,20.2,22.1,20.7,20.3,22,20.2,20.2,21.8,20.3,20,21.6,20.7,20.2,21.3]
["21/05/2014","12:52:06",21.5,20.6,20.100000000000001,21.2,20.2,20,22,20.7,20.5,22.1,20.3,20.5,21.7,20.6,20.2,21.8,21,20.3,21.6]
["21/05/2014","12:55:06",21.3,20.5,19.8,20.8,20,19.7,21.7,20.7,20.6,22,20.3,20.6,21.6,20.6,20.100000000000001,21.8,21.1,20.3,21.5]
["21/05/2014","12:58:06",21.1,20.3,19.7,20.5,19.600000000000001,19.600000000000001,21.5,20.7,20.6,21.8,20.3,20.6,21.5,20.5,19.8,21.8,21.1,20.3,21.3]
["21/05/2014","13:01:06",21,20.100000000000001,19.7,20.100000000000001,19.5,19.5,21.3,20.6,20.5,21.7,20.3,20.7,21.2,20.3,19.7,21.7,21.1,20.3,21.2]
["21/05/2014","13:04:06",20.8,20,19.600000000000001,20,19.2,19.2,21.2,20.6,20.5,21.6,20.3,20.7,21.1,20.2,19.600000000000001,21.7,21.1,20.2,21.1]
["21/05/2014","13:07:06",20.7,20,19.600000000000001,19.7,19.2,19.100000000000001,21.1,20.5,20.5,21.5,20.3,20.7,21,20.100000000000001,19.5,21.6,21,20.100000000000001,21]
["21/05/2014","13:10:06",20.6,19.8,19.5,19.600000000000001,19.100000000000001,19.100000000000001,21,20.5,20.3,21.3,20.3,20.6,20.8,20.100000000000001,19.3,21.6,21,20.100000000000001,21]
["21/05/2014","13:13:06",20.6,19.7,19.5,19.600000000000001,19,19,21,20.3,20.3,21.2,20.3,20.6,20.7,20,19.2,21.5,20.8,20,20.8]
["21/05/2014","13:16:06",20.5,19.7,19.5,19.600000000000001,19,19,20.8,20.3,20.3,21.2,20.3,20.6,20.7,19.8,19.100000000000001,21.3,20.8,19.8,20.8]
[]
[]
["The Following table is only formulae and not editable"]
[null,null,"DL 1","DL 2","DL 3","DL 4","DL 5","DL 6","DL 7","DL 8","DL 9","DL 10","DL 11","DL 12","DL 13","DL 14","DL 15","DL 16","DL 17","DL 18","DL 19"]
[null,"Minimum",{"$f":"MIN(C12:C25)","v":19.8},{"$f":"MIN(D12:D25)","v":19.3},19.5,19.5,19,18.8,20.2,19.8,19.8,20.5,19.600000000000001,19.8,20.2,19.2,18.7,{"$f":"MIN(R12:R25)","v":20.7},20.3,19.5,20.100000000000001]
[null,"Maximum",{"$f":"MAX(C12:C25)","v":21.5},{"$f":"MAX(D12:D25)","v":20.7},20.100000000000001,21.7,20.5,20.2,22.1,20.7,20.6,22.1,20.3,20.7,21.8,20.6,20.2,{"$f":"MAX(R12:R25)","v":21.8},21.1,20.3,21.6]
[null,"Average",{"$f":"AVERAGE(C12:C25)","v":20.785714285714285},{"$f":"AVERAGE(D12:D25)","v":20.085714285714285},19.74285714285714,20.342857142857145,19.592307692307692,19.435714285714283,21.24285714285714,20.442857142857143,20.321428571428573,21.464285714285712,20.142857142857146,20.407142857142855,21.11428571428571,20.05,19.514285714285712,{"$f":"AVERAGE(R12:R25)","v":21.428571428571427},20.8,20.028571428571432,20.971428571428572]
[null,"Mkt Value",{"$f":"MKT(C12:C25)","v":20.796294104683145},{"$f":"MKT(D12:D25)","v":20.094051780502149},19.745508011020281,20.371821308995337,19.029891707711762,19.445307898493184,21.256148378505074,20.446545632140495,20.324236652785281,21.475013219436519,20.146161783520412,20.412133934863142,21.125881726393292,20.059436487561509,19.524069774782578,{"$f":"MKT(R12:R25)","v":21.436108976748045},20.804945634478305,20.032413357237957,20.980558859310577]
["If you require a fully functional Worksheet (free of charge), please contact us at sales.uae@vackerglobal.com"]